# Bath Board with Handle

# PR46409 / 10440

## ASSEMBLY/USER INSTRUCTIONS

1. This product provides a comfortable seat for users who need to be sitting while bathing. Place this device flat on top of tub edges while using.

2. Adjust distance between footrests according to the width of bathtub. Tighten for ready use.

3. While assembling, adjust the distance between footrests according to bathtub size. Its distance fits most of the bathtubs available in the market.

Min. distance “A” – 390mm

Max. distance “B” – 636mm

Distance “C” – 295mm

Distance “D” – 349mm

Distance “E” – 685mm

4. The anti-slip rubber pad on the bottom of the product improves safety and does not damage the surface of the bathtub.

5. Insert stoppers in handle holes when handle is not attached.

Do not use safety handle to assist in standing. Forced weight on one handle may

cause bath board to become unstable.

CARE/MAINTENANCE INSTRUCTIONS

Wash with clean water and mild soap; dry thoroughly.

Check that adjustable feet are tight against the tub edges before each use.

# Text boxes

Please inspect all parts carefully for cracks/breaks prior to use.

Maximum

User Wt:

100

Made in Taiwan

Distributed By:

Able2 Europe B.V.	Able2 UK

Koperslagerij 15		www.able2.eu

4762 AR Zevenbergen

The Netherlands		Able2 Iberia

www.able2.nl		www.able2.es